Energy Saving

EnerPHit

- Space heating consumption after a EnerPHit retrofit is 25 kWh/m2 (75% reduction)

- Average cost of £80,000 per home

- Heating bill of an average sized house after an EnerPHit retrofit approx. £200

- Approx. 1-2 tonnes annual CO2e saving per home

- Average annual gas consumption per home in Great Britain = 13,900 kWh