Onshore wind (medium-scale)

- 1000 kW installation

- Powers approx. 570 homes over a year

- Hub height: 70m / Rotor diameter: 55m

- Approx. £1.25m to install

- Approx. 500 tonnes annual CO2e saving