Onshore wind (small-scale)

- 100 kW installation

- Powers approx. 60 homes over a year

- Hub height: 26m / Rotor diameter: 22m

- Approx. £350,000 to install

- Approx. 50 tonnes annual CO2e saving